AUTOCLAVE SM201

Model: SM201

Brand: Yamato

Origin: Japan

Technical Specifications:

System	: Automatic high-pressure steam sterilization

Operating temperature Sterilization: 105 to 123°C

Operating temperature Drying: 150 to 180°C

Maximum pressure capacity: 0.18MPa

Interior: Stainless steel

Heater Sterilization: 1.3kW

Heater Drying:  1.0kW

Temp. controller: PID control by microprocessor

Timer / Timer resolution: 1 min. ~ 99 hrs. and 59 min. 100~ 999 hrs. / 1 min. or 1 hr.

Safety Device: Self-diagnostic functions (detection sensor error, SSR short circuit, heater disconnect, faulty main relay, dry operation), safety valve, electric leakage breaker, drain bottle set-fail switch.

Internal capacity: 20L

Power source: AC220V 7A

Included accessories:	2 pcs. stainless steel mesh basket.

Terms & Condition:

Country of origin certificate should be submitted

Manufacturer Authorization must be submitted with the tender and strictly not accepted any other third-party authorization.

Warranty/Guarantee: 01 (One) years from the date of installation.

Country of Origin: USA/Japan/UK or Equivalent.